## Summary
Location | Part # | Deccription | Remarks | Balance | Safety Stock | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity
R4 | 201000197 | I2V IBSM PM Kit (Incomplete set) |  | 1 |  | 2018-01-02 | 1
R4 | 201000197 | ACQUITY I2V BSM PERFORMANCE MAINT KIT |  | 0 | 1 | 2018-03-07 | 1 | 2018-03-07 | -1
R4 | 201000260 | IBSM PM Kit |  | 1 |  | 2018-01-02 | 1
R3 | 999027699 | Plier - Tube Press to Fitting for Alliance WAT271087 |  | 1 |  | 2018-01-02 | 1
L3 | 187805-01 | IMAQ - A6804 NI Cable for detector |  | 1 |  | 2018-01-02 | 1
L2 | OTO2016 | OTO2016 |  | 15 |  | 2018-01-02 | 15
L3 | WAT046-12 | Peek |  | 5 |  | 2018-01-02 | 5
R1 | TJ36-CPSS-18U-2 | Omega for Alliance/ Velox Column Heater for GES |  | 3 |  | 2018-01-02 | 3
R1 | P-L-1/10-1/8-2-0-T-3 | Omega for 5042 |  | 3 |  | 2018-01-02 | 3
R2 | 441001128 | Home/ Away latch sensor for ASO |  | 3 |  | 2018-01-02 | 3
L3 | CF25048M312590 | light pipe for detector |  | 1 |  | 2018-01-02 | 1
L3 | WAT097323 | WAT097323 lamp assy |  | 4 |  | 2018-01-02 | 4
L3 | 700001722 | 15V @ 1.5A power supply |  | 1 |  | 2018-01-02 | 1
L3 | WAT027-08 | Peek tubing .062OD x .40ID |  | 3 |  | 2018-01-02 | 3
L3 | PCBA for TE82888 | Interface PCBA for Rough Alignment Tester TE82888 |  | 1 |  | 2018-01-02 | 1
R3 | WAT021132 | Seal Insert for Alliance |  | 5 |  | 2018-01-02 | 6 | 2018-05-28 | -1
L2 | 430001208 | Vent valve P2 to Tee/ filter |  | 8 |  | 2018-01-02 | 8
R3 | 999027952 | Assy Fix Ballscrew for alliance |  | 2 |  | 2018-01-02 | 2
L2 | 9513K18 | color coded 0.0075" plastic shim for FTN |  | 7 |  | 2018-01-02 | 7
L2 | 9513K19 | color coded 0.010" plastic shim for FTN |  | 7 |  | 2018-01-02 | 7
R3 | ULN5804B | IC |  | 4 |  | 2018-01-02 | 4
L2 | WAT053502 | PM Sticker |  | 190 |  | 2018-01-02 | 194 | 2018-10-17 | -4
L2 | RZZ pin | RZZ pin for FTN |  | 2 |  | 2018-01-02 | 2
R2 | spare CPU connector | spare CPU connector |  | 6 |  | 2018-01-02 | 6
L4 | QW2100 | QW2100 barcode scanner |  | 6 |  | 2018-01-02 | 6
L4 | Mesur Matic PCBA | NA |  | 2 |  | 2018-01-02 | 2
R2 | 700001351 | ASSY, PCB, DEGASSER AF for CEI PCBA |  | 3 |  | 2018-01-02 | 3
R2 | 700002511 | ASSY, PCB, DEGASSER, QSPI MULTI-PERS |  | 5 |  | 2018-08-23 | 5
R2 | LEMY22 | NA |  | 1 |  | 2018-01-02 | 1
R2 | LPMY22 | NA |  | 1 |  | 2018-01-02 | 1
R2 | 441000440 | Column Heater Cable for Alliance |  | 6 |  | 2018-01-02 | 6
L2 | PSL613315 | NA |  | 5 |  | 2018-01-02 | 5
L3 | WAT011042 | BSM PM Plunger tool |  | 1 |  | 2018-01-02 | 1
L2 | 405008767 | Cap valve for FTN line to cap for dust |  | 5 |  | 2018-01-02 | 5
L2 | ULN2003A | FTN Sensor |  | 12 |  | 2018-01-02 | 12
R3 | KUHP-11D51-24 | Pump Tray alliance |  | 1 |  | 2018-01-02 | 1
R3 | 9120089 | diamond pin assy fix for CCD |  | 2 |  | 2018-01-02 | 2
L2 | 430003154 | ASSY, WELDED TUBE, SS, .003 ID X 14.5 LG | Order at PN 700008869 | 4 | 4 | 2018-01-02 | 8 | 2018-01-30 | -1 | 2018-08-28 | -1 | 2018-11-20 | -1 | 2018-11-28 | -1
L2 | 430001101 | Tubing assy for FTN |  | 48 |  | 2018-01-02 | 48
L2 | WAT026804 | For FTN |  | 7 |  | 2018-01-02 | 7
L2 | 430001102 | Tubing assy for FTN |  | 48 |  | 2018-01-02 | 48
L2 | 323000639 | NA |  | 25 |  | 2018-01-02 | 25
L2 | ULN2064B | For FTN |  | 4 |  | 2018-01-02 | 4
L2 | MC74HC14ANG | For FTN |  | 4 |  | 2018-01-02 | 4
R2 | 21000552 | Tray Latch sensor for CEI ASO |  | 2 |  | 2018-01-02 | 2
R3 | Keypad and Key printout | Keypad and Key printout for Alliance injector |  | 1 |  | 2018-01-02 | 1
L4 | TBI SN-1X | SHIM |  | 2 |  | 2018-01-02 | 2
L3 | 700004156 | Cuvette Set |  | 8 |  | 2018-01-02 | 8
R3 | WAS081060 | 2487 CPU Board |  | 4 |  | 2018-01-02 | 4
L2 | 205000730 | APH for FTN tester |  | 3 |  | 2018-01-02 | 3
L2 | 205000894 | Tubing assy with Pre-heater for FTN Tester (Valve to column) |  | 2 | 2 | 2018-01-02 | 3 | 2018-12-21 | -1
L2 | 700006052 | Vent valve for FTN |  | 3 | 3 | 2018-01-02 | 5 | 2019-01-18 | -2
L2 | 700010979 | Netgear 5 port switch |  | 1 |  | 2018-01-02 | 1
L3 | WAS081324 | 2487 lamp power supply |  | 2 |  | 2018-01-02 | 2
L4 | 205015016 | TUV Flowcell |  | 5 | 8 | 2018-01-02 | 1 | 2018-09-06 | 8 | 2018-09-17 | -4 | 2018-11-01 | 4 | 2018-12-21 | -4
L3 | 700003639 | 160GB Harddisk |  | 2 |  | 2018-01-02 | 2
L3 | 700008988 | 250GB Harddisk |  | 4 |  | 2018-01-02 | 4
L3 | Harddisk for Richport | Harddisk for Richport |  | 1 |  | 2018-01-02 | 1
L6 | 700003090 | Lace Power Supply 350W |  | 2 | 2 | 2018-01-02 | 2 | 2018-04-20 | -1 | 2018-04-24 | 3 | 2018-11-20 | -2
L4 | 779065-01 (NI-6220) | NA |  | 1 |  | 2018-01-02 | 1
R3 | 999119745 | NA |  | 4 |  | 2018-01-02 | 4
L3 | 999028048 | NA |  | 3 |  | 2018-01-02 | 3
L4 | 1P301-1001-11 (Edgeport) | Edgeport USB to Serial Converter |  | 4 |  | 2018-01-02 | 4
R2 | 210000190 | PCB Column Heater/Cooler |  | 3 |  | 2018-01-02 | 3
R4 | TSP200350 (Polymicro) | NA |  | 1 |  | 2018-01-02 | 1
R3 | 999026422 | Torque Wrench |  | 1 |  | 2018-01-02 | 1
R3 | 999026375 | Torque Wrench |  | 1 |  | 2018-01-02 | 1
R3 | 999032164 | Carrlane L-5-SS modified |  | 10 |  | 2018-01-02 | 10
L2 | 999032368 | Socket Weldment, Upchurch SG HS: 82055900 |  | 5 |  | 2018-01-02 | 5
R3 | 17742 | Pin for Alliance |  | 5 |  | 2018-01-02 | 5
R3 | WAT046-01 | Yellow Ferrule for Alliance |  | 5 |  | 2018-01-02 | 5
R2 | 7078-TRX-5 (Keithley) | 7078-TRX-5 CABLE, TRIAX, 3 SLOT LOW NOISE, 1.5M |  | 1 |  | 2018-01-02 | 1
L3 | 186002350 | ACQUITY UPLC BEH C18 1.7µm 2.1x50mm Colv | Need to reorder in Jan 2019 - SS 8 pieces | 0 | 9 | 2018-01-02 | 9 | 2018-01-11 | -4 | 2018-03-07 | -1 | 2018-07-12 | -1 | 2018-08-14 | 4 | 2018-09-17 | -1 | 2018-09-17 | -4 | 2018-12-21 | 1 | 2018-12-21 | -3 | 2019-01-03 | 2 | 2019-01-03 | -1
L3 | 186006049 | XBridgeR BEH C8 2.5um | Need to reorder in Jan 2019 - SS 8 pieces | 0 | 8 | 2018-01-02 | 8 | 2018-01-11 | -4 | 2018-09-05 | 3 | 2018-09-17 | -4 | 2018-09-19 | 1 | 2018-12-21 | -4
L3 | WAT035190 | Inline Filter Assy |  | 1 |  | 2018-01-02 | 1
L2 | 430003141 | Samp Needle, 20uL |  | 1 |  | 2018-01-02 | 1
R3 | 999025295 adjustment tool | Tohnichi SSP8N2x5/16 adjustment tool |  | 1 |  | 2018-01-02 | 1
L4 | 289002450 | TUV Shunts |  | 6 |  | 2018-01-02 | 6
L4 | 289002226 | PDA Medium Shunts |  | 0 | 3 | 2018-01-02 | 3 |  |  | 2018-01-12 | -1 | 2018-01-23 | -2
L4 | 289002149 | PDA Large Shunts |  | 3 |  | 2018-01-02 | 3
L4 | 289002219 | PDA Linearity Shunts |  | 1 |  | 2018-01-02 | 1
R3 | 9026700 | Encoder alignment pin carousel eAlliance | additional 2 items | 4 |  | 2018-01-02 | 4
L3 | Pin hole aperture | Pin hole aperture tool | missing 1 item | 5 |  | 2018-01-02 | 5
R3 | VICI ASFVO | On/Off valve, air actuated/1"so | missing SF39391 | 2 | 2 | 2018-01-02 | 7 | 2018-03-02 | -1 | 2018-03-15 | -1 | 2018-04-10 | -1 | 2018-06-20 | -1 | 2018-09-18 | -1
R3 | BSDA025T-NC-PV | PLAST-O-MATIC | missing 2 item | 6 |  | 2018-01-02 | 8 | 2018-08-15 | -1 | 2018-08-16 | -1
R3 | UG333/5PNGD | 600GB 15K RPM SAS 2.5in Hot Plug Drive, 3.5in HYB CARR, Cus Kit |  | 2 |  | 2018-01-12 | 2
L5 | 700009641 | ESI PROBE ASSEMBLY 250mm Qda |  | 23 |  | 2018-02-20 | 5 | 2018-02-20 | -2 | 2018-03-12 | 6 | 2018-03-12 | -4 | 2018-09-12 | -2 | 2018-09-20 | 20 | 2018-10-02 | -1 | 2018-10-17 | -8 | 2018-10-29 | -1 | 2018-11-01 | 4
L4 | 01038-65 | Weighing Balance Adapter 220V | Adapter only | 2 |  | 2018-02-20 | 2
L6 | 1503191 | Wrist Band, Adjustable, 6ft Cord, Blue | Total of 4 | 1 |  | 2018-02-27 | 4 | 2018-02-27 | -2 | 2018-03-08 | -1
L6 | 222635 | Analogue Surface Resistance Meter Kit |  | 1 |  | 2018-02-27 | 1
L6 | RCDDT320-EN-BS | Tester, RCD |  | 1 |  | 2018-02-27 | 1
L6 | 222563 | ESD Personnel Test Station |  | 0 |  | 2018-02-27 | 1 | 2018-02-27 | -1
L2 | 999038882 | Modified Nut Driver |  | 1 |  | 2018-03-01 | 1
L3 | WAS207069 | Plunger |  | 6 | 4 | 2018-03-07 | 4 | 2018-03-07 | -4 | 2018-09-06 | 8 | 2018-09-06 | -2
R3 | 700000254 | Performance Plus Sapphire CV CART |  | 8 | 8 | 2018-03-07 | 8 | 2018-03-07 | -8 | 2018-07-31 | 16 | 2018-08-06 | -8
L3 | WAT022934 | Seal, Clear-100 |  | 6 | 4 | 2018-03-07 | 2 | 2018-03-07 | -2 | 2018-09-06 | 8 | 2018-09-06 | -2
| WAT025531 | Assy, Solvent Filter |  | 0 | 2 | 2018-03-07 | 2 | 2018-08-07 | -2
| 201000174 | ACQUITY SAMPLE MGR PERFORM MAINT KIT |  | 0 | 1 | 2018-03-07 | 1 | 2018-03-07 | -1
| 201000281 | ACQUITY PDA/TUV 2489/2998 PERF MAINT KIT |  | 0 | 1 | 2018-03-07 | 1 | 2018-03-07 | -1
| 700002642 | ACQUITY UPLC ABSORBANCE 10MM TEST SOL |  | 0 | 1 | 2018-03-07 | 1 | 2018-03-07 | -1
R4 | 186002457 | White, 9mm Screw Cap w/Bonded pre-slit P |  | 3 | 2 | 2018-03-07 | 1 | 2018-03-07 | -1 | 2018-10-02 | 4 | 2018-10-02 | -1
R4 | 186005827 | Blk Cap 12x32mm vial PSlt PTFE Sil Sept |  | 1 | 2 | 2018-03-07 | 1 | 2018-03-07 | -1 | 2018-10-02 | 2 | 2018-10-02 | -1
R4 | 186002127 | Green Screw Cap (9mm) w/Bonded Pre-Slit |  | 2 | 2 | 2018-03-07 | 1 | 2018-03-07 | -1 | 2018-10-02 | 2
R4 | 186002128 | Red Screw Cap (9mm) w/Bonded Pre-Slit PT |  | 2 | 2 | 2018-03-07 | 1 | 2018-03-07 | -1 | 2018-10-02 | 2
R3 | 186003031 | XBridge C18 3.5 um 4.6 x 50 mm Column |  | 15 | 24 | 2018-03-07 | 30 | 2018-03-07 | -20 | 2018-04-24 | 10 | 2018-05-23 | -4 | 2019-01-02 | -1
| 700003741 | HPLC System UV Test Solutions (ampules 1, 3, 7, 8 & 9) |  | 0 | 6 | 2018-03-07 | 10 | 2018-03-07 | -10 | 2018-03-20 | 30 | 2018-03-20 | -30
R3 | G14F06201 | Bar Code Scanner QW2100 |  | 0 |  | 2018-05-22 | 1 | 2018-05-22 | -1
R4 | 1439MG01HA79 | Logitech Keyboard |  | 1 |  | 2018-05-22 | 1
R4 | E1715S | Dell Monitor |  | 0 |  | 2018-05-22 | 1 | 2018-05-22 | -1
| 6070945 | 1/16" Blanking Plug |  | 3 |  | 2018-05-24 | 3
| 7714898 | 5/32 Cap |  | 5 |  | 2018-05-24 | 5
| 7715071 | 6mm to 6mm Joint |  | 5 |  | 2018-05-24 | 5
| 700003811 | ThermpGreen High temp Sepa |  | 16 |  | 2018-05-24 | 16
| 371-9549 | 5/32 Plug |  | 12 |  | 2018-05-24 | 12
| C105-14-304 | Swing Clamp Assembly & Nut |  | 2 |  | 2018-05-24 | 2
| C10514397 | NW25 Centering Ring VIT |  | 2 |  | 2018-05-24 | 2
| KQ2C06-00A | 6mm Cap |  | 10 |  | 2018-05-24 | 10
| KQ2P-06 | 6mm Plug |  | 7 |  | 2018-05-24 | 7
|  | Analyser Back Cover |  | 1 |  | 2018-05-24 | 1
|  | Leak Check Adaptor |  | 1 |  | 2018-05-24 | 1
|  | Tube Sharperner Cover |  | 1 |  | 2018-05-24 | 1
L4 | FA-24PS | 24 Volt Powersupply |  | 3 |  | 2018-06-05 | 2 | 2019-01-03 | 1
L4 | 71216SN2BL00, C111Q3 | Parker Fluid Control DIV |  | 2 |  | 2018-06-07 | 2
L4 | 210000399 | 2414 Front End Controller |  | 2 | 2 | 2018-06-29 | 2 | 2018-06-29 | -1 | 2018-07-02 | 2 | 2018-09-13 | -1
| 999041977-03 | Backpressure Verification Sample, Assembly |  | 1 |  | 2018-07-02 | 1
L4 | 999041977-04 | Backpressure Verification Sample, Assembly |  | 0 |  | 2018-07-02 | 1 | 2018-07-02 | -1
R4 | SPC15329 | Banana Plug |  | 24 |  | 2018-07-19 | 30 | 2018-09-24 | -2 | 2018-09-24 | -2 | 2018-09-24 | -2
L3 | 210000520 | 2 CPU'S for 210000478 |  | 1 |  | 2018-07-27 | 2 | 2018-07-27 | -1
R3 | 999042549 | Insert Upper Ram, Check Valve Housing |  | 2 |  | 2018-08-13 | 3 | 2018-08-13 | -1
R3 | WAT069507 | Assy Cable Washpump |  | 0 |  | 2018-08-07 | 16 | 2018-08-07 | -16
R4 | 201000160 | 1525 EF PM Kit (Incomplete set) |  | 1 |  | 2018-01-02 | 1
R4 | 201000160 | 1525 EF PM Kit |  | 1 |  | 2018-01-02 | 1
L3 | 289006760 | ASSY, CARTRIDGE, CM, 18 KPSI | Order at PN 205000877 (2 per) Need to reorder in Jan 2019 - 1 set 205000877 - SS 2 pieces | 0 | 2 | 2018-08-28 | 2 | 2018-08-28 | -1 | 2018-12-21 | -1
L4 | 700005269 | PERFORMANCE PLUS HB DEUTERIUM LAMP ASSY |  | 0 | 6 | 2018-08-28 | 6 | 2018-09-17 | -6
| 667004297 | SQT Option for Systems on Emp 3 |  | 0 |  | 2018-09-06 | 1 | 2018-09-06 | -1
R3 | HPRV-250SS-V-1200 | Generant High Pressure Valve 316 SS 1/4" NPT, Viton seal, 1200PSI Set Point |  | 1 |  | 2018-09-12 | 1
| 700009330 | PERFORMANCE PLUS HB DEUTERIUM LAMP ASSY |  | 4 |  | 2018-09-14 | 4
L4 | 700005250 | PCB, HTCH-A ACTIVE COL HEATER |  | 1 |  | 2018-09-19 | 1 | 2018-09-19 | -1 | 2018-09-24 | 1
L5 | 700009768 | Aperture Disk Assembly P Qda |  | 16 |  | 2018-09-20 | 20 | 2018-10-17 | -4
R2 | 725000459 | PCB Degasser |  | 1 | 2 | 2018-10-08 | 2 | 2018-10-08 | -1
R2 | WAT056370 | PCB CPU |  | 1 |  | 2018-10-08 | 2 | 2018-10-08 | -1
L5 | 289012535 | Filament Assembly |  | 6 |  | 2018-10-26 | 8 | 2018-10-26 | -2
L5 |  | Brooks 2510 Flow Meter |  | 2 |  | 2018-10-26 | 10 | 2018-10-26 | -8
R1 | 442000135 | UK Power Cord |  | 8 |  | 2018-10-29 | 4 | 2018-10-29 | -4 | 2018-12-11 | 8
L3 | 002261-BJ-BA-00 | Filament Assembly |  | 1 |  | 2018-11-01 | 1
| BVHVU6 | HAND VALVES |  | 4 |  | 2018-11-01 | 4
| BVU60-1212 | MANUAL |  | 4 |  | 2018-11-01 | 4
R2 | 700005512 | ASSY, PCB, ACQ PDA CHARGE AMP WSN | Packed in a box with PN# 210000333, 210000520 | 1 |  | 2018-12-11 | 1
L2 | 999041596 | Gage for 50ML wand |  | 1 |  | 2019-01-03 | 1
R4 | 700001834 | BATTERY, 3.0V ZEROPOWER, SNAPHAT |  | 8 |  | 2019-01-18 | 8
WPPL Lab | SMX750I | APC Smart X 750 230V |  | 1 |  | 2019-01-18 | 1
L5 | 160B96F | National Instruments PXI-4130 Power SMU | For GTS | 1 |  | 2019-01-21 | 1
L5 |  | National Instruments PXI-6229 M Series Multifunction DAQ | For GTS (S/N: 164D2A9 & 164D2B4) | 2 |  | 2019-01-21 | 2
Note on G1: Jie Hui Ng: Balance inventory from 2017
Note on E3: HuaZhen Luo: MRO was raised by Jie Hui
Note on F3: HuaZhen Luo: Column Manager Tester PM
Note on I3: Jie Hui Ng: Issue to Venture
Note on I17: Jie Hui Ng: To Flex
Note on I23: Jie Hui Ng: Issue to Venture
Note on F39: HuaZhen Luo: Repair parts for FTN
Note on I39: sgyyso: FTN Tester 16 - wear and tear replacement
Note on K39: Jie Hui Ng: Issue to Venture
Note on M39: Jie Hui Ng: Issue to Venture
Note on O39: Jie Hui Ng: Issue to Venture
Note on F52: HuaZhen Luo: Repair parts for Venture
Note on I52: Jie Hui Ng: Issue to Venture
Note on F53: HuaZhen Luo: Repair parts for Venture
Note on I53: Jie Hui Ng: Issue to Venture
Note on F56: HuaZhen Luo: PM parts for FTN. 4 in Milford for flushing
Note on K56: Jie Hui Ng: Issue to Venture
Note on O56: Jie Hui Ng: Issue to Venture
Note on F60: HuaZhen Luo: Repair parts for old LACE PC
Note on I60: Jie Hui Ng: Loan to Flex
Note on M60: Jie Hui Ng: Issue to Flex
Note on E74: HuaZhen Luo: MRO was raised by Jie Hui
Note on F74: HuaZhen Luo: 8x FTN PM and 1x for Column Manager Tester at Venture
Note on I74: Jie Hui Ng: For Venture FTN Testers PM use
Note on K74: Jie Hui Ng: Issue to Venture
Note on M74: Jie Hui Ng: Issue to Venture
Note on Q74: Jie Hui Ng: Issue to Venture
Note on S74: Jie Hui Ng: Issue to Venture
Note on V74: sgyyso: found extra 1 box during stock check
Note on W74: Jie Hui Ng: Issue to Venture
Note on AA74: Jie Hui Ng: Issue to Venture
Note on F75: HuaZhen Luo: FTN PM
Note on I75: Jie Hui Ng: For Venture FTN Testers PM use
Note on Q75: Jie Hui Ng: Issue to Venture
Note on F80: HuaZhen Luo: No. is based on last year usage
Note on K80: Jie Hui Ng: Loan to Flex
Note on M80: Jie Hui Ng: Flex PDA and eLmabda Capacity Up due to Recovery. To be returned end of the month.
Note on F85: HuaZhen Luo: No. is based on last year usage. Repair parts for Flex
Note on I85: Jie Hui Ng: Issued to Flex
Note on K85: Jie Hui Ng: Issue to Flex
Note on M85: Jie Hui Ng: Issue to Flex
Note on O85: Jie Hui Ng: Issue to Flex
Note on Q85: Jie Hui Ng: Issue to Flex
Note on I86: Jie Hui Ng: Issue to Flex
Note on K86: Jie Hui Ng: Issue to Flex
Note on G87: Jie Hui Ng: Harddisk spares for server
Note on I88: Jie Hui Ng: In WPPL lab
Note on M88: Jie Hui Ng: To Venture
Note on O88: Jie Hui Ng: Issue to Venture
Note on S88: Jie Hui Ng: Issue to Sidd
Note on U88: Jie Hui Ng: Issue to Venture
Note on W88: Jie Hui Ng: Issue to WPPL lab
Note on I90: Jie Hui Ng: In WPPL lab
Note on K90: Jie Hui Ng: In WPPL lab
Note on I93: Jie Hui Ng: In WPPL lab
Note on F95: HuaZhen Luo: PM parts for Venture
Note on I95: Jie Hui Ng: Issue to Venture
Note on M95: Jie Hui Ng: Issue to Venture
Note on F96: HuaZhen Luo: PM parts fro Venture
Note on I96: Jie Hui Ng: Issue to Venture
Note on M96: Jie Hui Ng: Issue to Venture
Note on F97: HuaZhen Luo: PM Parts for Venture
Note on I97: Jie Hui Ng: Issue to Venture
Note on M97: Jie Hui Ng: Issue to Venture
Note on F98: HuaZhen Luo: PM parts for Venture
Note on I98: Jie Hui Ng: Issue to Venture
Note on E99: HuaZhen Luo: MRO was raised by Jie Hui
Note on F99: HuaZhen Luo: PM parts for Venture
Note on I99: Jie Hui Ng: Issue to Venture
Note on E100: HuaZhen Luo: MRO was raised by Jie Hui
Note on F100: HuaZhen Luo: PM parts for Venture
Note on I100: Jie Hui Ng: Issue to Venture
Note on E101: HuaZhen Luo: MRO was raised by Jie Hui
Note on F101: HuaZhen Luo: PM parts for Venture
Note on I101: Jie Hui Ng: Issue to Venture
Note on F102: HuaZhen Luo: No. is based on last year usage.
Note on I102: Jie Hui Ng: Issue to Flex
Note on M102: Jie Hui Ng: Issue to Flex
Note on F103: HuaZhen Luo: No. is based on last year usage.
Note on I103: Jie Hui Ng: Issue to Flex
Note on M103: Jie Hui Ng: Issue to Flex
Note on F104: HuaZhen Luo: No. is based on last year usage.
Note on I104: Jie Hui Ng: Issue to Flex
Note on F105: HuaZhen Luo: No. is based on last year usage.
Note on I105: Jie Hui Ng: Issue to Flex
Note on F106: HuaZhen Luo: Used for Alliance Final Testers. 4 ports x 6 testers = 24
Note on I106: Jie Hui Ng: Issue to Flex
Note on M106: Jie Hui Ng: Issue to Flex for 6th Alliance tester
Note on P106: Jie Hui Ng: Issue to Flex
Note on F107: HuaZhen Luo: Test solution for 6 Alliance Testers
Note on I107: Jie Hui Ng: Issue to Flex
Note on M107: Jie Hui Ng: Issue to Flex
Note on F125: HuaZhen Luo: CEI Fixture Repair
Note on I125: Jie Hui Ng: Issue to CEI
Note on M125: Jie Hui Ng: Issue to CEI
Note on I127: Jie Hui Ng: Issue to KeyPoint
Note on I128: Jie Hui Ng: Issue to CEI
Note on K128: Jie Hui Ng: Issue to Venture
Note on M128: Jie Hui Ng: Issue to Flex
Note on I129: Jie Hui Ng: Issue to Venture
Note on I130: Jie Hui Ng: Issue to Flex
Note on G131: Jie Hui Ng: bought from Flex
Note on I131: Jie Hui Ng: Issue to Venture
Note on F134: HuaZhen Luo: Repair parts for Venture FTN testers
Note on I134: Jie Hui Ng: Issue to Venture
Note on K134: Jie Hui Ng: Issue to Venture
Note on F135: HuaZhen Luo: PM parts for Venture
Note on I135: Jie Hui Ng: Issue to Venture
Note on I136: Jie Hui Ng: Issue to Flex
Note on I139: Jie Hui Ng: Issue to CEI
Note on I140: Jie Hui Ng: Issue to Venture
Note on F141: HuaZhen Luo: CEI fixture repair
Note on I141: Jie Hui Ng: Issue to Flex
Note on I142: Jie Hui Ng: Issue to Flex
Note on I143: Jie Hui Ng: Issue to Venture
Note on I144: Jie Hui Ng: Issue to Venture
Note on I145: Jie Hui Ng: Issue to WPPL SQT Lab

## Stock not found
Parts Accessories/ Parts Numbers
201000160
1068150017
779209-01
(blank)
NI GPIB cable
DVI to VGA
9025580/ 999025609
999038868
TE82586-31
Punch for ferrule crimping
Zygo fixture
OP600-1
999038530
Keyboard
Micrometer
Shim Book
3" depth Gauge + hole puncher
Vaccuum pump
205000894
442000135
I button
999027952-3
999026329
999027952-2
999120050
888004188
999028283
999028283-1
119646
999029850
999027063
999026419
999027845
P-299
999029341
119652
999039080
999026375-1
999029388
999027101-2
WAT056370
186002441
WAT091727
WAT025190
WAT078917
Voltage Box Cable
WAT042885
WAT042881
700003741
700005269
wat052587
999025295
700002825
1068150019

## 2017 Balance Inventory
Date In/Out | Part Number | Description | Location | Quantity In | Quantity Out | Remarks
2018-01-02 | 201000197 | I2V IBSM PM Kit | R4 | 1 |  | Balance inventory from 2017
2018-01-02 | 201000260 | IBSM PM Kit | R4 | 1
2018-01-02 | 999027699 | Plier - Tube Press to Fitting for Alliance WAT271087 | R3 | 1
2018-01-02 | 187805-01 | IMAQ - A6804 NI Cable for detector | L3 | 1
2018-01-02 | OTO2016 | OTO2016 | L2 | 15
2018-01-02 | WAT046-12 | Peek | L3 | 5
2018-01-02 | TJ36-CPSS-18U-2 | Omega for Alliance/ Velox Column Heater for GES | R1 | 3
2018-01-02 | P-L-1/10-1/8-2-0-T-3 | Omega for 5042 | R1 | 3
2018-01-02 | 441001128 | Home/ Away latch sensor for ASO | R2 | 3
2018-01-02 | CF25048M312590 | light pipe for detector | L3 | 1
2018-01-02 | WAT097323 | WAT097323 lamp assy | L3 | 4
2018-01-02 | 700001722 | 15V @ 1.5A power supply | L3 | 1
2018-01-02 | WAT027-08 | Peek tubing .062OD x .40ID | L3 | 3
2018-01-02 | PCBA for TE82888 | Interface PCBA for Rough Alignment Tester TE82888 | L3 | 1
2018-01-02 | WAT021132 | Seal Insert for Alliance | R3 | 6
2018-01-02 | 430001208 | Vent valve P2 to Tee/ filter | L2 | 8
2018-01-02 | 999027952 | Assy Fix Ballscrew for alliance | R3 | 2
2018-01-02 | 9513K18 | color coded 0.0075" plastic shim for FTN | L2 | 7
2018-01-02 | 9513K19 | color coded 0.010" plastic shim for FTN | L2 | 7
2018-01-02 | ULN5804B | IC | R3 | 4
2018-01-02 | WAT053502 | PM Sticker | L2 | 194
2018-01-02 | RZZ pin | RZZ pin for FTN | L2 | 2
2018-01-02 | spare CPU connector | spare CPU connector | R2 | 6
2018-01-02 | QW2100 | QW2100 barcode scanner | L4 | 6
2018-01-02 | Mesur Matic PCBA |  | L4 | 2
2018-01-02 | 700001351 | ASSY, PCB, DEGASSER AF for CEI PCBA | R2 | 3
2018-01-02 | 700002511 | Degasser PCB for Alliance degasser | R2 | 5
2018-01-02 | LEMY22 |  | R2 | 1
2018-01-02 | LPMY22 |  | R2 | 1
2018-01-02 | 441000440 | Column Heater Cable for Alliance | R2 | 6
2018-01-02 | PSL613315 |  | L2 | 5
2018-01-02 | WAT011042 | BSM PM Plunger tool | L3 | 1
2018-01-02 | 405008767 | Cap valve for FTN line to cap for dust | L2 | 5
2018-01-02 | ULN2003A | FTN Sensor | L2 | 12
2018-01-02 | KUHP-11D51-24 | Pump Tray alliance | R3 | 1
2018-01-02 | 9120089 | diamond pin assy fix for CCD | R3 | 2
2018-01-02 | 430003154 | For FTN | L2 | 8
2018-01-02 | 430001101 | Tubing assy for FTN | L2 | 48
2018-01-02 | WAT026804 | For FTN | L2 | 7
2018-01-02 | 430001102 | Tubing assy for FTN | L2 | 48
2018-01-02 | 323000639 |  | L2 | 25
2018-01-02 | ULN2064B | For FTN | L2 | 4
2018-01-02 | MC74HC14ANG | For FTN | L2 | 4
2018-01-02 | 21000552 | Tray Latch sensor for CEI ASO | R2 | 2
2018-01-02 | Keypad and Key printout | Keypad and Key printout for Alliance injector | R3 | 1
2018-01-02 | TBI SN-1X | SHIM | L4 | 2
2018-01-02 | 700004156 | Cuvette Set | L3 | 8
2018-01-02 | WAS081060 | 2487 CPU Board | R3 | 4
2018-01-02 | 205000730 | APH for FTN tester | L2 | 3
2018-01-02 | 700006052 | Vent valve for FTN | L2 | 5
2018-01-02 | 700010979 | Netgear 5 port switch | L2 | 1
2018-01-02 | WAS081324 | 2487 lamp power supply | L3 | 2
2018-01-02 | 205015016 | TUV Flowcell | L3 | 1
2018-01-02 | 700003639 | 160GB Harddisk | L3 | 2
2018-01-02 | 700008988 | 250GB Harddisk | L3 | 4
2018-01-02 | Harddisk for Richport | Harddisk for Richport | L3 | 1
2018-01-02 | 700003090 | Lace Power Supply | L6 | 2
2018-01-02 | 779065-01 (NI-6220) |  | L4 | 1
2018-01-02 | 999119745 |  | R3 | 4
2018-01-02 | 999028048 |  | L3 | 3
2018-01-02 | 1P301-1001-11 (Edgeport) | Edgeport USB to Serial Converter | L4 | 4
2018-01-02 | 210000190 | Heater Cooler PCB | L4 | 3
2018-01-02 | TSP200350 (Polymicro) |  | R4 | 1
2018-01-02 | 999026422 | Torque Wrench | R3 | 1
2018-01-02 | 999026375 | Torque Wrench | R3 | 1
2018-01-02 | 999032164 | Carrlane L-5-SS modified | R3 | 10
2018-01-02 | 999032368 | Socket Weldment, Upchurch SG HS: 82055900 | L2 | 5
2018-01-02 | 17742 | Pin for Alliance | R3 | 5
2018-01-02 | WAT046-01 | Yellow Ferrule for Alliance | R3 | 5
2018-01-02 | 7078-TRX-5 (Keithley) | 7078-TRX-5 CABLE, TRIAX, 3 SLOT LOW NOISE, 1.5M | R2 | 1
2018-01-02 | 186002350 | ACQUITY UPLC BEH C18 1.7um | L3 | 9
2018-01-02 | 186006049 | XBridgeR BEH C8 2.5um | L3 | 8
2018-01-02 | WAT035190 | Inline Filter Assy | L3 | 1
2018-01-02 | 430003141 | Samp Needle, 20uL | L2 | 1
2018-01-02 | 999025295 adjustment tool | Tohnichi SSP8N2x5/16 adjustment tool | R3 | 1
2018-01-02 | 289002450 | TUV Shunts | L4 | 3
2018-01-02 | 289002226 | PDA Medium Shunts | L4 | 4
2018-01-02 | 289002149 | TUV Large Shunts | L4 | 3
2018-01-02 | 289002219 | TUV Linearity Shunts | L4 | 1
2018-01-02 | 9026700 | Encoder alignment pin carousel eAlliance | R3 | 4 |  | additional 2 items
2018-01-02 | Pin hole aperture | Pin hole aperture tool | L3 | 5 |  | missing 1 item
2018-01-02 | VICI ASFVO |  | R3 | 7 |  | missing SF39391
2018-01-02 | BSDA025T-NC-PV | PLAST-O-MATIC | R3 | 8 |  | missing 2 item
2018-01-11 | 186002350 | ACQUITY UPLC BEH C18 1.7um | L3 |  | 4 | For Venture FTN Testers PM use
2018-01-11 | 186006049 | Xbridge BEH C8 2.5um | L3 |  | 4 | For Venture FTN Testers PM use
2018-01-12 | 289002450 | TUV Shunts | L4 |  | 1 | Loan to Flex
2018-01-12 | UG333/5PNGD | 600GB 15K RPM SAS 2.5in Hot Plug Drive, 3.5in HYB CARR, Cus Kit | R3 | 2 |  | Harddisk spares for server