## Summary 2020
Location | Part # | Deccription | TE/Tool/Consumable | Remarks | Need to order | Safety Stock | Balance | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity
L1 | 999027952-3 | Dogpoint Screw tool | Tool |  |  |  | 14
L1 | 999028283 | Fork Tool | Tool |  |  |  | 9
L1 | 999028283-1 | Spare Fork | Tool |  |  |  | 8
L1 | 999029341 | Fitting Tool | Tool |  |  |  | 6
L1 | 119646 | Insertion Tool | Tool |  |  |  | 1
L1 | 999028048 | Sleeve (Retaining ring press set) | Tool |  |  |  | 2
L1 | 999027952-2 | Spanner Wrench | Tool |  |  |  | 1
L1 | 999026375-1 | Torque Driver Fitting Tool | Tool |  |  |  | 1
L1 | 999027063 | LED Holder Assy Tool | Tool |  |  |  | 1
L1 | 999029850 | Check Valve Cable Assy Tool | Tool |  |  |  | 1
L1 | 999120050 | Encoder Lock Tool | Tool |  |  |  | 2
L1 | 999039080 | Clean Plate | Tool |  |  |  | 6
L1 | 119652 | Press Tooling (Punch Pin Bearing Assy) | Tool |  |  |  | 1
L1 | P-299 | Fitting Wrench (Extender Tool-Flangeless Nut ) | Tool |  |  |  | 2
L1 | 999027845 | Plunger Asst Fix -Vista- | Tool |  |  |  | 1
L1 | 999026329 | Encoder Alignment Tool | Tool |  |  |  | 2
L1 | 999026419 | PCB Standoff Tool | Tool |  |  |  | 1
L1 | 888004188 | Spacer | Tool |  |  |  | 1
L1 | WAT070216 | BULK Head Fitting, 0.020 ID | Tool |  |  |  | 4
L1 | KR-515 | Reticle 12 concentric circles 0.06 - 0.72 inch, frosted substrate, regular top, 27mm diameter | Tool |  |  |  | 1
L1 | KR-525 | Reticle 30 concentric circles, frosted substrate, regular top, 30mm diameter | Tool |  |  |  | 1
L1 | 999038140 | WRENCH FOR KNURLED NUT 405015874 | Tool |  |  |  | 2
L1 | WAT027629 | Syringe Assembly 10ml Safety | Tool |  |  |  | 1
L1 | 201000197 | I2V IBSM PM Kit (Incomplete set) | Consumable |  |  |  | 1
L1 | 201000197 | ACQUITY I2V BSM PERFORMANCE MAINT KIT | Consumable |  | 0 | 1 | 1
L1 | 201000260 | IBSM PM Kit | Consumable |  |  |  | 1
L1 | 201000160 | 1525 EF PM Kit (Incomplete set) | Consumable |  |  |  | 1
L1 | 201000160 | 1525 EF PM Kit | Consumable |  |  |  | 1
L1 | 201000174 | ACQUITY SAMPLE MGR PERFORM MAINT KIT | Consumable |  | 0 | 1 | 1
L1 | 201000281 | ACQUITY PDA/TUV 2489/2998 PERF MAINT KIT | Consumable |  | 0 | 1 | 1
L1 | 700002642 | ACQUITY UPLC ABSORBANCE 10MM TEST SOL | Consumable | YH request for Q32020 MRO; It's part of column manager tester PM | 0 | 1 | 1
L2 | OTO2016 | OTO2016 | Tool |  |  |  | 15
L2 | 430001208 | Vent valve P2 to Tee/ filter | Tool |  |  |  | 8
L2 | 9513K18 | color coded 0.0075" plastic shim for FTN | Tool |  |  |  | 7
L2 | 9513K19 | color coded 0.010" plastic shim for FTN | Tool |  |  |  | 7
L2 | WAT053502 | PM Sticker | Tool |  |  |  | 190
L2 | RZZ pin | RZZ pin for FTN | Tool |  |  |  | 2
L2 | PSL613315 | fingertight ferrule | Tool |  |  |  | 5
L2 | 405008767 | Cap valve for FTN line to cap for dust | Tool |  |  |  | 5
L2 | ULN2003A | FTN Sensor | TE |  |  |  | 12
L2 | 430003154 | ASSY, WELDED TUBE, SS, .003 ID X 14.5 LG (Order at PN 700008869) | TE |  | 0 | 4 | 6 | 2020-01-14 | -1
L2 | 430001101 | Tubing assy for FTN | Tool | Is it necessary? Sell back to Venture |  |  | 48
L2 | WAT026804 | Tubing assy For FTN | Tool | Is it necessary? Sell back to Venture |  |  | 7
L2 | 430001102 | Tubing assy for FTN | Tool | Is it necessary? Sell back to Venture |  |  | 48
L2 | 323000639 | Connector HDR RA 1x15P B | Tool |  |  |  | 25
L2 | ULN2064B | For FTN | TE |  |  |  | 4
L2 | MC74HC14ANG | For FTN | TE |  |  |  | 4
L2 | 205000730 | APH for FTN tester | TE |  | 1 | 2 | 3
L2 | 205000894 | ACQ. I-Class APH, SS, 12.5 LG, .003 ID (Tubing assy with Pre-heater for FTN Tester (Valve to column)) | TE |  | 0 | 2 | 2
L2 | 700006052 | ASSY, CART, VENT, DOGLEG, 18 KPSI, DOM (EVent valve for FTN, PN 289006541) | TE |  | 0 | 3 | 3
L2 | 700010979 | Netgear 5 port switch | TE |  |  |  | 1
L2 | 999032368 | Socket Weldment, Upchurch SG HS: 82055900 | Tool |  |  |  | 5
L2 | 430003141 | Samp Needle, 20uL(Order PN: 700005928) | TE |  |  |  | 1
L2 | 999038882 | Modified Nut Driver | Tool |  |  |  | 1
L2 | 999041596 | Gage for 50ML wand | Tool |  |  |  | 1
L2 | 999041597 | Gage for 100ML wand | Tool |  |  |  | 1
L2 | 205000610 | Acquity UPLC TUV 5mm SS FC | Consumable |  |  |  | 1
L2 | CL-66-CTK | CL-66-CTK | Tool |  |  |  | 4
L3 | 187805-01 | IMAQ - A6804 NI Cable for detector | TE |  |  |  | 1
L3 | 779168-01 | NI Connector and backshell for PXI-258x switches | TE |  |  |  | 1
L3 | WAT046-12 | COMP SCREW 1/8 PEEK |  |  |  |  | 5
L3 | CF25048M312590 | light pipe for detector | TE |  |  |  | 1
L3 | WAT097323 | WAT097323 lamp assy | Consumable |  |  |  | 4
L3 | 700001722 | 15V @ 1.5A power supply (725000541) | TE |  |  |  | 1
L3 | WAT027-08 | Peek tubing .062OD x .040ID | TE |  |  |  | 3
L3 | PCBA for TE82888 | Interface PCBA for Rough Alignment Tester TE82888 | TE |  |  |  | 1
L3 | WAT011042 | BSM PM Plunger tool | Tool |  |  |  | 1
L3 | 700004156 | Cuvette Set | Consumable |  | 0 | 3 | 6
L3 | WAS081324 | 2487 lamp power supply | TE |  |  |  | 2
L3 | 700003639 | 160GB Harddisk | TE |  |  |  | 2
L3 | 700008988 | 250GB Harddisk | TE |  |  |  | 4
L3 | Harddisk for Richport | Harddisk for Richport | Tool | ? |  |  | 1
R3 | 700003090 | Lace Power Supply 350W | TE |  | 0 | 3 | 3
L3 | 999028048 | NA | Tool |  |  |  | 3
L3 | 186002350 | ACQUITY UPLC BEH C18 1.7µm 2.1x50mm Colv | Consumable | 1x used for ColMg PM @L1; YH requested for 2020Q3 MRO | -2 | 9 | 7
L2 | 186006049 | XBridgeR BEH C8 2.5um | Consumable |  | 0 | 8 | 8
L3 | WAT035190 | Inline Filter Assy | Tool |  |  |  | 1
L3 | 9027905430 | Pin hole aperture tool | Tool |  |  |  | 4
L3 | 289001438 | Aperture hole | Tool |  |  |  | 1
L3 | WAS207069 | 515 PLUNGER | Consumable |  | 0 | 4 | 4
L3 | WAT022934 | Seal, Clear-100 | Consumable |  | 0 | 4 | 4
L3 | 210000520 | 2 CPU'S for 210000478 | TE |  |  |  | 1
L3 | 289006760 | ASSY, CARTRIDGE, CM, 18 KPSI (Order at PN 205000877 (2 per), KIT, VALVE CARTRIDGES, SS I-Class CM-A) | TE |  | 0 | 2 | 2
L3 | 002261-BJ-BA-00 | Filament Assembly |  |  |  |  | 1
L4 | QW2120 | QW2120 barcode scanner | Tool |  |  |  | 3
L4 | Mesur Matic PCBA | NA | Tool |  |  |  | 2
L4 | TBI SN-1X | SHIM | Tool |  |  |  | 2
R6 | 205015016 | ACQUITY UPLC ID Cell TUV, Analytical (TUV Flowcell) | Consumable | Reusable after PM done by Milford | -3 | 8 | 5
L4 | 779065-01 (NI-6220) | NI PCI-6220 M series DAQ | TE |  | 0 |  | 1
L4 | 1P301-1001-11 (Edgeport) | Edgeport USB to Serial Converter (SN:E40672141) | TE |  | 0 |  | 4
L4 | 289002450 | TUV Shunts | Tool |  | 0 |  | 3
L4 | 289002226 | Shunt cell, Acquity PDA (PDA Medium Shunts. Order at PN 700002874) | TE |  | 0 | 6 | 3 | 2020-07-01 | 3
L4 | 289002149 | PDA Large Shunts | Tool |  |  |  | 3
L4 | 289002219 | PDA Linearity Shunts | Tool |  |  |  | 1
L4 | 289002227 | Assy, Shunt Cell LG Small | Tool |  |  | 1 | 1 | 2020-07-01 | 1
L4 | 700002825 | Shunt Cell, Acquity TUV > K05UPT700 | Tool |  |  |  | 3 | 2020-07-01 | 3
L4 | 01038-65 | Weighing Balance Adapter 220V (Adapter only) | TE |  |  |  | 2
L4 | FA-24PS | 24 Volt Powersupply | TE |  |  |  | 3
L4 | 71216SN2BL00, C111Q3 | Parker Fluid Control DIV | Tool |  |  |  | 2
L4 | 210000399 | 2414 Front End Controller (Order at PN 700001116, ASSY, PCB, 2414 FRONT END BOARD) | TE |  | -1 | 2 | 1
L4 | 999041977-03 | Backpressure Verification Sample, Assembly | Tool |  |  |  | 1
L4 | 999041977-04 | Backpressure Verification Sample, Assembly |  |  |  |  | 0
L4 | 700005269 | PERFORMANCE PLUS HB DEUTERIUM LAMP ASSY | Consumable |  | -6 | 6 | 0
L4 | 700005250 | PCB, HTCH-A ACTIVE COL HEATER | TE |  |  |  | 1
L5 | 700009641 | ESI PROBE ASSEMBLY 250mm Qda | Consumable |  |  |  | 22 | [21 empty] | -1 | 2019-09-24 | 16 | 2019-09-25 | -16 | 2019-11-01 | 14 | 2019-12-06 | -1
L5 | 700009768 | Aperture Disk Assembly P Qda | Consumable |  |  |  | 21
L5 | 289012535 | Filament Assembly | Consumable? | QDA |  |  | 8
L5 | 2510A2A17BNBN | Brooks 2510 Flow Meter | Tool |  |  |  | 2
R1 | 779647-30 | National Instruments PXI-4130 Power SMU (SN 160B96F For GTS) | TE |  |  |  | 1
R1 | 779630-01 | National Instruments PXI-6229 M Series Multifunction DAQ (For GTS (S/N: 164D2A9 & 164D2B4)) | TE |  |  |  | 2
L6 | 1503191 (066-0055Z) | Wrist Band, Adjustable, 6ft Cord, Blue | Tool |  |  |  | 1
L6 | 222635 | Analogue Surface Resistance Meter Kit | Tool |  |  |  | 1
L6 | RCDDT320-EN-BS | Tester, RCD |  |  |  |  | 1
L6 | 222563 | ESD Personnel Test Station |  |  |  |  | 0
R1 | TJ36-CPSS-18U-2 | Omega for Alliance/ Velox Column Heater for GES | TE |  |  |  | 3
R1 | 778032-01 | PCI-GPIB, NI 488.2 for Windows | TE |  |  |  | 1
R1 | 763061-02 | NI Type X2, GPIB 2 meter calbe | TE |  |  |  | 1
R2 | P-L-1/10-1/8-2-0-T-3 | Omega for 5042 | TE |  | 1 | 2 | 3 | 2020-06-08 | -1
R1 | 442000135 | UK Power Cord | TE |  |  |  | 8
R2 | 441001128 | Home/ Away latch sensor for ASO | TE |  |  |  | 3
R2 | spare CPU connector | spare CPU connector for FCT fixture | TE |  |  |  | 6
R2 | 700001351 | ASSY, PCB, DEGASSER AF for CEI PCBA | TE |  |  |  | 3
R2 | 725000459 | ASSY, PCB, DEGASSER, QSPI MULTI-PERS (Order at PN# 700002511) | TE |  | 0 | 2 | 6
R2 | LEMY22 | NA | Tool |  |  |  | 1
R2 | LPMY22 | NA | Tool |  |  |  | 1
R2 | 21000552 | Tray Latch sensor for CEI ASO | TE |  |  |  | 2
R2 | 210000190 | PCB Column Heater/Cooler | TE |  |  |  | 3
R2 | 7078-TRX-5 (Keithley) | 7078-TRX-5 CABLE, TRIAX, 3 SLOT LOW NOISE, 1.5M | TE |  |  |  | 1
R2 | WAT056370 | PCB CPU (Old Version) for Pump tray tester | TE |  |  |  | 1
R2 | 700005512 | ASSY, PCB, ACQ PDA CHARGE AMP WSN (Packed in a box with PN# 210000333, 210000520) | TE |  |  |  | 1
R2 | N/A | Connector Board for TE82586-31 | TE |  |  |  | 1
R2 | TE82996 Driver | Adapter Control Board (For CEI GTS1 test fixture TE82994-2) |  |  |  |  | 4
R3 | 999027699 | Plier - Tube Press to Fitting for Alliance WAT271087 | Tool |  |  |  | 1
R3 | WAT021132 | Seal Insert for Alliance | Tool |  |  |  | 5
R3 | 999027952 | Assy Fix Ballscrew for alliance | Tool |  |  |  | 2
R3 | ULN5804B | IC | TE |  |  |  | 4
R3 | 441000440 | Column Heater Cable for Alliance | TE |  | 2 | 2 | 4 | 2020-06-08 | -1
R3 | KUHP-11D51-24 | Pump Tray alliance | Tool |  |  |  | 1
R3 | 9120089 | diamond pin assy fix for CCD | Tool |  |  |  | 2
R3 | Keypad and Key printout | Keypad and Key printout for Alliance injector | Tool |  |  |  | 1
R3 | WAS081060 | 2487 CPU Board | TE |  |  |  | 4
R3 | 999119745 | NA | Tool |  |  |  | 4
R3 | 999026422 | Torque Wrench | Tool |  |  |  | 1
R3 | 999026375 | Torque Wrench | Tool |  |  |  | 1
R3 | 999032164 | Carrlane L-5-SS modified | Tool |  |  |  | 10
R3 | 17742 | Pin for Alliance | Tool |  |  |  | 5
L3 | WAT046-01 | Yellow Ferrule for Alliance | Tool |  |  |  | 5
R3 | 999025295 adjustment tool | Tohnichi SSP8N2x5/16 adjustment tool | Tool |  |  |  | 1
R3 | 09026700 | Encoder alignment pin carousel eAlliance | Tool |  |  |  | 6
R3 | 00925580 | 99902509 Knurl | Tool |  |  |  | 5
R3 | N/A | ZYGO Fixture | Tool |  |  |  | 1
R3 | VICI ASFVO | On/Off valve, air actuated/1"so | TE |  | 0 | 2 | 4
R3 | BSDA025T-NC-PV | PLAST-O-MATIC | TE |  | -1 | 3 | 2 | 2020-01-14 | -1
R4 | UG333/5PNGD | 600GB 15K RPM SAS 2.5in Hot Plug Drive, 3.5in HYB CARR, Cus Kit | TE |  |  |  | 2
R3 | 700000254 | Performance Plus Sapphire CV CART (2) | Consumable |  | -6 | 8 | 2
R3 | WAT025531 | Assy, Solvent Filter | Consumable |  | 0 | 2 | 2
R3 | 186003031 | XBridge C18 3.5 um 4.6 x 50 mm Column | Consumable |  | 0 | 12 | 22 | 2020-01-14 | -1 | 2020-03-16 | -1
R3 | G14F06201 | Bar Code Scanner QW2100 |  |  |  |  | 0
R3 | 999042549 | Insert Upper Ram, Check Valve Housing | Tool |  |  |  | 2
R3 | WAT069507 | SPRING, COMP 180 OD X 1.25 | Tool |  |  |  | 6
R3 | HPRV-250SS-V-1200 | Generant High Pressure Valve 316 SS 1/4" NPT, Viton seal, 1200PSI Set Point | Tool |  |  |  | 1
R3 | 1P301-1003-10 (Edgeport) | Edgeport USB to Serial Converter (SN:E40672141) | TE |  |  |  | 1
R3 | NF300KPDC | KNF pump | Tool |  |  |  | 1
R3 | 1N4001RLG | Standard Dione | TE |  |  |  | 8
R3 | N/A | Tranducer Housing | Tool |  |  |  | 2
R3 | B-521-0-PM | FABCO-Air B-521-0-PM | Tool |  |  |  | 1
R3 | EEUFC1H470 | Capacitor, Radial 50v 47uf | TE |  |  |  | 5
R2 | 72218BN4UV00N0L322P3 | PARKER VALVE C/W 110VAC COIL | TE |  |  |  | 1
R4 | TSP200350 (Polymicro) | NA | TE |  |  |  | 1
R4 | TSP075375(Polymicro) | Polymicro | TE |  |  |  | 3
R4 | 186002457 | White, 9mm Screw Cap w/Bonded pre-slit P | Consumable |  | 0 | 2 | 2
R4 | 186005827 | Blk Cap 12x32mm vial PSlt PTFE Sil Sept | Consumable |  | -1 | 2 | 1
R4 | 186002127 | Green Screw Cap (9mm) w/Bonded Pre-Slit | Consumable |  | -1 | 2 | 1
R4 | 186002128 | Red Screw Cap (9mm) w/Bonded Pre-Slit PT | Consumable |  | -1 | 2 | 1
R4 | 1439MG01HA79 | Logitech Keyboard | TE |  |  |  | 1
R5 | E1715S | Dell Monitor | TE |  |  |  | 0
R4 | SPC15329 | Banana Plug | Tool |  |  |  | 12
L4 | 700001834 | BATTERY, 3.0V ZEROPOWER, SNAPHAT | TE |  |  |  | 8
WPPL Lab | SMX750I | APC Smart X 750 230V | TE |  |  |  | 1
R4 | 700003741 | HPLC System UV Test Solutions (Ampules 1, 3, 7, 8 & 9) | Consumable |  | 0 | 6 | 6
R4 | 6070945 | 1/16" Blanking Plug | Tool |  |  |  | 3
R4 | 7714898 | 5/32 Cap | Tool |  |  |  | 5
R4 | 7715071 | 6mm to 6mm Joint | Tool |  |  |  | 5
R4 | 700003811 | ThermpGreen High temp Sepa | Tool |  |  |  | 16
R4 | 371-9549 | 5/32 Plug | Tool |  |  |  | 12
R4 | C105-14-304 | Swing Clamp Assembly & Nut | Tool |  |  |  | 2
R4 | C10514397 | NW25 Centering Ring VIT | Tool |  |  |  | 2
R4 | KQ2C06-00A | 6mm Cap | Tool |  |  |  | 10
R4 | KQ2P-06 | 6mm Plug | Tool |  |  |  | 7
R4 |  | Analyser Back Cover | Tool |  |  |  | 1
R4 |  | Leak Check Adaptor | Tool |  |  |  | 1
R4 |  | Tube Sharperner Cover | Tool |  |  |  | 1
R4 | 26956 | DVI Male to SGVA HD 15 | TE |  |  |  | 2
| 667004297 | SQT Option for Systems on Emp 3 |  |  |  |  | 0
R4 | 700009330 | PERFORMANCE PLUS HB DEUTERIUM LAMP ASSY | Consumable |  |  |  | 4
R5 |  | CCD | Tool |  |  |  | 1
R6 | TR-IN09-VWH-100 | Inspection record card | Tool |  |  |  | 2
| BVHVU6 | HAND VALVES |  |  |  |  | 4
| BVU60-1212 | MANUAL |  |  |  |  | 4
L4 | NA | QUOLL Quad VxWorks | Tool |  |  |  | 1
L4 | NA | QUOLL Quad Blind BIOS | Tool |  |  |  | 1
L4 | NA | Spare Key for test box | Tool |  |  |  | 1
L5 | NA | PKI Fixture | Tool |  |  |  | 1
L4 | N/A | Cable for Analyzer(Hipot) | TE |  |  |  | 1
L6 | USB4000-UV-VIS | Ocean Optics USB4000 | Tool |  |  |  | 1
L6 | 83-034-100 | TDK-Lambda User Manual | Tool |  |  |  | 6
L6 | 293-340-30 | Mitutoyo Digimatic Micrometer | Tool |  |  |  | 1
L6 | 500-197-30 | Mitutoyo Digimatic caliper | Tool |  |  |  | 1
L6 | 2292227 | from element 14 | Tool |  |  |  | 2
L6 | 999038530 | Shim for Assembly 279001841 | Tool |  |  |  | 1
Note on H1: HuaZhen Luo: Balance from 2019
Note on G26: HuaZhen Luo: Column Manager Tester PM
Note on G30: HuaZhen Luo: PM parts for Venture
Note on G31: HuaZhen Luo: PM parts for Venture
Note on G32: HuaZhen Luo: PM parts for Venture
Note on G42: HuaZhen Luo: Repair parts for FTN
Note on G50: HuaZhen Luo: Repair parts for Venture
Note on G51: HuaZhen Luo: Repair parts for Venture
Note on G74: HuaZhen Luo: Repair parts for old LACE PC
Note on G76: HuaZhen Luo: 8x FTN PM and 1x for Column Manager Tester at Venture
Note on G77: HuaZhen Luo: FTN PM
Note on G81: HuaZhen Luo: PM parts for Venture
Note on G82: HuaZhen Luo: PM Parts for Venture
Note on G84: HuaZhen Luo: Repair parts for Venture FTN testers
Note on G89: HuaZhen Luo: PM parts for FTN. All 8 units sent to Paul for reprogram
Note on G93: HuaZhen Luo: No. is based on last year usage
Note on G101: HuaZhen Luo: CEI Fixture Repair
Note on G104: HuaZhen Luo: PM parts for Venture
Note on AK106: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: for the QDa PM in the IFWRC lab
Note on G153: HuaZhen Luo: No. is based on last year usage. Repair parts for Flex
Note on G154: HuaZhen Luo: Spare part for 3x Pump Tray testers repair
Note on G156: HuaZhen Luo: PM parts fro Venture
Note on G157: HuaZhen Luo: PM parts for Venture
Note on G158: HuaZhen Luo: Used for Alliance Final Testers. 4 ports x 6 testers = 24 Revise to 12 as replacement rate was lower than initial estimate on 14Jan20
Note on G172: HuaZhen Luo: No. is based on last year usage.
Note on G173: HuaZhen Luo: No. is based on last year usage.
Note on G174: HuaZhen Luo: No. is based on last year usage.
Note on G175: HuaZhen Luo: No. is based on last year usage.
Note on G181: HuaZhen Luo: Test solution for 6 Alliance Testers

## TE
Location | Part # | Deccription | TE/Tool/Consumable | Remarks | Need to order | Safety Stock | Balance | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity
L2 | ULN2003A | FTN Sensor | TE |  |  |  | 12
L2 | 430003154 | ASSY, WELDED TUBE, SS, .003 ID X 14.5 LG (Order at PN 700008869) | TE |  | 0 | 4 | 6 | 2020-01-14 | -1
L2 | ULN2064B | For FTN | TE |  |  |  | 4
L2 | MC74HC14ANG | For FTN | TE |  |  |  | 4
L2 | 205000730 | APH for FTN tester | TE |  | 1 | 2 | 3
L2 | 205000894 | ACQ. I-Class APH, SS, 12.5 LG, .003 ID (Tubing assy with Pre-heater for FTN Tester (Valve to column)) | TE |  | 0 | 2 | 2
L2 | 700006052 | ASSY, CART, VENT, DOGLEG, 18 KPSI, DOM (EVent valve for FTN, PN 289006541) | TE |  | 0 | 3 | 3
L2 | 700010979 | Netgear 5 port switch | TE |  |  |  | 1
L2 | 430003141 | Samp Needle, 20uL(Order PN: 700005928) | TE |  |  |  | 1
L3 | 187805-01 | IMAQ - A6804 NI Cable for detector | TE |  |  |  | 1
L3 | 779168-01 | NI Connector and backshell for PXI-258x switches | TE |  |  |  | 1
L3 | CF25048M312590 | light pipe for detector | TE |  |  |  | 1
L3 | 700001722 | 15V @ 1.5A power supply (725000541) | TE |  |  |  | 1
L3 | WAT027-08 | Peek tubing .062OD x .040ID | TE |  |  |  | 3
L3 | PCBA for TE82888 | Interface PCBA for Rough Alignment Tester TE82888 | TE |  |  |  | 1
L3 | WAS081324 | 2487 lamp power supply | TE |  |  |  | 2
L3 | 700003639 | 160GB Harddisk | TE |  |  |  | 2
L3 | 700008988 | 250GB Harddisk | TE |  |  |  | 4
R3 | 700003090 | Lace Power Supply 350W | TE |  | 0 | 3 | 3
L3 | 210000520 | 2 CPU'S for 210000478 | TE |  |  |  | 1
L3 | 289006760 | ASSY, CARTRIDGE, CM, 18 KPSI (Order at PN 205000877 (2 per), KIT, VALVE CARTRIDGES, SS I-Class CM-A) | TE |  | 0 | 2 | 2
L4 | 779065-01 (NI-6220) | NI PCI-6220 M series DAQ | TE |  | 0 |  | 1
L4 | 1P301-1001-11 (Edgeport) | Edgeport USB to Serial Converter (SN:E40672141) | TE |  | 0 |  | 4
L4 | 289002226 | Shunt cell, Acquity PDA (PDA Medium Shunts. Order at PN 700002874) | TE |  | 0 | 6 | 3 | 2020-07-01 | 3
L4 | 01038-65 | Weighing Balance Adapter 220V (Adapter only) | TE |  |  |  | 2
L4 | FA-24PS | 24 Volt Powersupply | TE |  |  |  | 3
L4 | 210000399 | 2414 Front End Controller (Order at PN 700001116, ASSY, PCB, 2414 FRONT END BOARD) | TE |  | -1 | 2 | 1
L4 | 700005250 | PCB, HTCH-A ACTIVE COL HEATER | TE |  |  |  | 1
R1 | 779647-30 | National Instruments PXI-4130 Power SMU (SN 160B96F For GTS) | TE |  |  |  | 1
R1 | 779630-01 | National Instruments PXI-6229 M Series Multifunction DAQ (For GTS (S/N: 164D2A9 & 164D2B4)) | TE |  |  |  | 2
R1 | TJ36-CPSS-18U-2 | Omega for Alliance/ Velox Column Heater for GES | TE |  |  |  | 3
R1 | 778032-01 | PCI-GPIB, NI 488.2 for Windows | TE |  |  |  | 1
R1 | 763061-02 | NI Type X2, GPIB 2 meter calbe | TE |  |  |  | 1
R2 | P-L-1/10-1/8-2-0-T-3 | Omega for 5042 | TE |  | 1 | 2 | 3 | 2020-06-08 | -1
R1 | 442000135 | UK Power Cord | TE |  |  |  | 8
R2 | 441001128 | Home/ Away latch sensor for ASO | TE |  |  |  | 3
R2 | spare CPU connector | spare CPU connector for FCT fixture | TE |  |  |  | 6
R2 | 700001351 | ASSY, PCB, DEGASSER AF for CEI PCBA | TE |  |  |  | 3
R2 | 725000459 | ASSY, PCB, DEGASSER, QSPI MULTI-PERS (Order at PN# 700002511) | TE |  | 0 | 2 | 6
R2 | 21000552 | Tray Latch sensor for CEI ASO | TE |  |  |  | 2
R2 | 210000190 | PCB Column Heater/Cooler | TE |  |  |  | 3
R2 | 7078-TRX-5 (Keithley) | 7078-TRX-5 CABLE, TRIAX, 3 SLOT LOW NOISE, 1.5M | TE |  |  |  | 1
R2 | WAT056370 | PCB CPU (Old Version) for Pump tray tester | TE |  |  |  | 1
R2 | 700005512 | ASSY, PCB, ACQ PDA CHARGE AMP WSN (Packed in a box with PN# 210000333, 210000520) | TE |  |  |  | 1
R2 | N/A | Connector Board for TE82586-31 | TE |  |  |  | 1
R3 | ULN5804B | IC | TE |  |  |  | 4
R3 | 441000440 | Column Heater Cable for Alliance | TE |  | 2 | 2 | 4 | 2020-06-08 | -1
R3 | WAS081060 | 2487 CPU Board | TE |  |  |  | 4
R3 | VICI ASFVO | On/Off valve, air actuated/1"so | TE |  | 0 | 2 | 4
R3 | BSDA025T-NC-PV | PLAST-O-MATIC | TE |  | -1 | 3 | 2 | 2020-01-14 | -1
R4 | UG333/5PNGD | 600GB 15K RPM SAS 2.5in Hot Plug Drive, 3.5in HYB CARR, Cus Kit | TE |  |  |  | 2
R3 | 1P301-1003-10 (Edgeport) | Edgeport USB to Serial Converter (SN:E40672141) | TE |  |  |  | 1
R3 | 1N4001RLG | Standard Dione | TE |  |  |  | 8
R3 | EEUFC1H470 | Capacitor, Radial 50v 47uf | TE |  |  |  | 5
R2 | 72218BN4UV00N0L322P3 | PARKER VALVE C/W 110VAC COIL | TE |  |  |  | 1
R4 | TSP200350 (Polymicro) | NA | TE |  |  |  | 1
R4 | TSP075375(Polymicro) | Polymicro | TE |  |  |  | 3
R4 | 1439MG01HA79 | Logitech Keyboard | TE |  |  |  | 1
R5 | E1715S | Dell Monitor | TE |  |  |  | 0
L4 | 700001834 | BATTERY, 3.0V ZEROPOWER, SNAPHAT | TE |  |  |  | 8
WPPL Lab | SMX750I | APC Smart X 750 230V | TE |  |  |  | 1
R4 | 26956 | DVI Male to SGVA HD 15 | TE |  |  |  | 2
L4 | N/A | Cable for Analyzer(Hipot) | TE |  |  |  | 1
Note on H1: HuaZhen Luo: Balance from 2019
Note on G3: HuaZhen Luo: Repair parts for FTN
Note on G7: HuaZhen Luo: Repair parts for Venture
Note on G8: HuaZhen Luo: Repair parts for Venture
Note on G20: HuaZhen Luo: Repair parts for old LACE PC
Note on G22: HuaZhen Luo: Repair parts for Venture FTN testers
Note on G25: HuaZhen Luo: No. is based on last year usage
Note on G28: HuaZhen Luo: CEI Fixture Repair
Note on G50: HuaZhen Luo: No. is based on last year usage. Repair parts for Flex
Note on G51: HuaZhen Luo: Spare part for 3x Pump Tray testers repair

## Tools
Location | Part # | Deccription | TE/Tool/Consumable | Remarks | Need to order | Safety Stock | Balance | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity
L1 | 999027952-3 | Dogpoint Screw tool | Tool |  |  |  | 14
L1 | 999028283 | Fork Tool | Tool |  |  |  | 9
L1 | 999028283-1 | Spare Fork | Tool |  |  |  | 8
L1 | 999029341 | Fitting Tool | Tool |  |  |  | 6
L1 | 119646 | Insertion Tool | Tool |  |  |  | 1
L1 | 999028048 | Sleeve (Retaining ring press set) | Tool |  |  |  | 2
L1 | 999027952-2 | Spanner Wrench | Tool |  |  |  | 1
L1 | 999026375-1 | Torque Driver Fitting Tool | Tool |  |  |  | 1
L1 | 999027063 | LED Holder Assy Tool | Tool |  |  |  | 1
L1 | 999029850 | Check Valve Cable Assy Tool | Tool |  |  |  | 1
L1 | 999120050 | Encoder Lock Tool | Tool |  |  |  | 2
L1 | 999039080 | Clean Plate | Tool |  |  |  | 6
L1 | 119652 | Press Tooling (Punch Pin Bearing Assy) | Tool |  |  |  | 1
L1 | P-299 | Fitting Wrench (Extender Tool-Flangeless Nut ) | Tool |  |  |  | 2
L1 | 999027845 | Plunger Asst Fix -Vista- | Tool |  |  |  | 1
L1 | 999026329 | Encoder Alignment Tool | Tool |  |  |  | 2
L1 | 999026419 | PCB Standoff Tool | Tool |  |  |  | 1
L1 | 888004188 | Spacer | Tool |  |  |  | 1
L1 | WAT070216 | BULK Head Fitting, 0.020 ID | Tool |  |  |  | 4
L1 | KR-515 | Reticle 12 concentric circles 0.06 - 0.72 inch, frosted substrate, regular top, 27mm diameter | Tool |  |  |  | 1
L1 | KR-525 | Reticle 30 concentric circles, frosted substrate, regular top, 30mm diameter | Tool |  |  |  | 1
L1 | 999038140 | WRENCH FOR KNURLED NUT 405015874 | Tool |  |  |  | 2
L1 | WAT027629 | Syringe Assembly 10ml Safety | Tool |  |  |  | 1
L2 | OTO2016 | OTO2016 | Tool |  |  |  | 15
L2 | 430001208 | Vent valve P2 to Tee/ filter | Tool |  |  |  | 8
L2 | 9513K18 | color coded 0.0075" plastic shim for FTN | Tool |  |  |  | 7
L2 | 9513K19 | color coded 0.010" plastic shim for FTN | Tool |  |  |  | 7
L2 | WAT053502 | PM Sticker | Tool |  |  |  | 190
L2 | RZZ pin | RZZ pin for FTN | Tool |  |  |  | 2
L2 | PSL613315 | fingertight ferrule | Tool |  |  |  | 5
L2 | 405008767 | Cap valve for FTN line to cap for dust | Tool |  |  |  | 5
L2 | 430001101 | Tubing assy for FTN | Tool | Is it necessary? Sell back to Venture |  |  | 48
L2 | WAT026804 | Tubing assy For FTN | Tool | Is it necessary? Sell back to Venture |  |  | 7
L2 | 430001102 | Tubing assy for FTN | Tool | Is it necessary? Sell back to Venture |  |  | 48
L2 | 323000639 | Connector HDR RA 1x15P B | Tool |  |  |  | 25
L2 | 999032368 | Socket Weldment, Upchurch SG HS: 82055900 | Tool |  |  |  | 5
L2 | 999038882 | Modified Nut Driver | Tool |  |  |  | 1
L2 | 999041596 | Gage for 50ML wand | Tool |  |  |  | 1
L2 | 999041597 | Gage for 100ML wand | Tool |  |  |  | 1
L2 | CL-66-CTK | CL-66-CTK | Tool |  |  |  | 4
L3 | WAT011042 | BSM PM Plunger tool | Tool |  |  |  | 1
L3 | Harddisk for Richport | Harddisk for Richport | Tool | ? |  |  | 1
L3 | 999028048 | NA | Tool |  |  |  | 3
L3 | WAT035190 | Inline Filter Assy | Tool |  |  |  | 1
L3 | 9027905430 | Pin hole aperture tool | Tool |  |  |  | 4
L3 | 289001438 | Aperture hole | Tool |  |  |  | 1
L4 | QW2120 | QW2120 barcode scanner | Tool |  |  |  | 3
L4 | Mesur Matic PCBA | NA | Tool |  |  |  | 2
L4 | TBI SN-1X | SHIM | Tool |  |  |  | 2
L4 | 289002450 | TUV Shunts | Tool |  | 0 |  | 3
L4 | 289002149 | PDA Large Shunts | Tool |  |  |  | 3
L4 | 289002219 | PDA Linearity Shunts | Tool |  |  |  | 1
L4 | 289002227 | Assy, Shunt Cell LG Small | Tool |  |  | 1 | 1 | 2020-07-01 | 1
L4 | 700002825 | Shunt Cell, Acquity TUV > K05UPT700 | Tool |  |  |  | 3 | 2020-07-01 | 3
L4 | 71216SN2BL00, C111Q3 | Parker Fluid Control DIV | Tool |  |  |  | 2
L4 | 999041977-03 | Backpressure Verification Sample, Assembly | Tool |  |  |  | 1
L5 | 2510A2A17BNBN | Brooks 2510 Flow Meter | Tool |  |  |  | 2
L6 | 1503191 (066-0055Z) | Wrist Band, Adjustable, 6ft Cord, Blue | Tool |  |  |  | 1
L6 | 222635 | Analogue Surface Resistance Meter Kit | Tool |  |  |  | 1
R2 | LEMY22 | NA | Tool |  |  |  | 1
R2 | LPMY22 | NA | Tool |  |  |  | 1
R3 | 999027699 | Plier - Tube Press to Fitting for Alliance WAT271087 | Tool |  |  |  | 1
R3 | WAT021132 | Seal Insert for Alliance | Tool |  |  |  | 5
R3 | 999027952 | Assy Fix Ballscrew for alliance | Tool |  |  |  | 2
R3 | KUHP-11D51-24 | Pump Tray alliance | Tool |  |  |  | 1
R3 | 9120089 | diamond pin assy fix for CCD | Tool |  |  |  | 2
R3 | Keypad and Key printout | Keypad and Key printout for Alliance injector | Tool |  |  |  | 1
R3 | 999119745 | NA | Tool |  |  |  | 4
R3 | 999026422 | Torque Wrench | Tool |  |  |  | 1
R3 | 999026375 | Torque Wrench | Tool |  |  |  | 1
R3 | 999032164 | Carrlane L-5-SS modified | Tool |  |  |  | 10
R3 | 17742 | Pin for Alliance | Tool |  |  |  | 5
L3 | WAT046-01 | Yellow Ferrule for Alliance | Tool |  |  |  | 5
R3 | 999025295 adjustment tool | Tohnichi SSP8N2x5/16 adjustment tool | Tool |  |  |  | 1
R3 | 09026700 | Encoder alignment pin carousel eAlliance | Tool |  |  |  | 6
R3 | 00925580 | 99902509 Knurl | Tool |  |  |  | 5
R3 | N/A | ZYGO Fixture | Tool |  |  |  | 1
R3 | 999042549 | Insert Upper Ram, Check Valve Housing | Tool |  |  |  | 2
R3 | WAT069507 | SPRING, COMP 180 OD X 1.25 | Tool |  |  |  | 6
R3 | HPRV-250SS-V-1200 | Generant High Pressure Valve 316 SS 1/4" NPT, Viton seal, 1200PSI Set Point | Tool |  |  |  | 1
R3 | NF300KPDC | KNF pump | Tool |  |  |  | 1
R3 | N/A | Tranducer Housing | Tool |  |  |  | 2
R3 | B-521-0-PM | FABCO-Air B-521-0-PM | Tool |  |  |  | 1
R4 | SPC15329 | Banana Plug | Tool |  |  |  | 12
R4 | 6070945 | 1/16" Blanking Plug | Tool |  |  |  | 3
R4 | 7714898 | 5/32 Cap | Tool |  |  |  | 5
R4 | 7715071 | 6mm to 6mm Joint | Tool |  |  |  | 5
R4 | 700003811 | ThermpGreen High temp Sepa | Tool |  |  |  | 16
R4 | 371-9549 | 5/32 Plug | Tool |  |  |  | 12
R4 | C105-14-304 | Swing Clamp Assembly & Nut | Tool |  |  |  | 2
R4 | C10514397 | NW25 Centering Ring VIT | Tool |  |  |  | 2
R4 | KQ2C06-00A | 6mm Cap | Tool |  |  |  | 10
R4 | KQ2P-06 | 6mm Plug | Tool |  |  |  | 7
R4 |  | Analyser Back Cover | Tool |  |  |  | 1
R4 |  | Leak Check Adaptor | Tool |  |  |  | 1
R4 |  | Tube Sharperner Cover | Tool |  |  |  | 1
R5 |  | CCD | Tool |  |  |  | 1
R6 | TR-IN09-VWH-100 | Inspection record card | Tool |  |  |  | 2
L4 | NA | QUOLL Quad VxWorks | Tool |  |  |  | 1
L4 | NA | QUOLL Quad Blind BIOS | Tool |  |  |  | 1
L4 | NA | Spare Key for test box | Tool |  |  |  | 1
L5 | NA | PKI Fixture | Tool |  |  |  | 1
Note on H1: HuaZhen Luo: Balance from 2019

## Consumable
Location | Part # | Deccription | TE/Tool/Consumable | Remarks | Need to order | Safety Stock | Balance | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity
L1 | 201000197 | I2V IBSM PM Kit (Incomplete set) | Consumable |  |  |  | 1
L1 | 201000197 | ACQUITY I2V BSM PERFORMANCE MAINT KIT | Consumable |  | 0 | 1 | 1
L1 | 201000260 | IBSM PM Kit | Consumable |  |  |  | 1
L1 | 201000160 | 1525 EF PM Kit (Incomplete set) | Consumable |  |  |  | 1
L1 | 201000160 | 1525 EF PM Kit | Consumable |  |  |  | 1
L1 | 201000174 | ACQUITY SAMPLE MGR PERFORM MAINT KIT | Consumable |  | 0 | 1 | 1
L1 | 201000281 | ACQUITY PDA/TUV 2489/2998 PERF MAINT KIT | Consumable |  | 0 | 1 | 1
L1 | 700002642 | ACQUITY UPLC ABSORBANCE 10MM TEST SOL | Consumable | YH request for Q32020 MRO; It's part of column manager tester PM | 0 | 1 | 1
L2 | 205000610 | Acquity UPLC TUV 5mm SS FC | Consumable |  |  |  | 1
L3 | WAT097323 | WAT097323 lamp assy | Consumable |  |  |  | 4
L3 | 700004156 | Cuvette Set | Consumable |  | 0 | 3 | 6
L3 | 186002350 | ACQUITY UPLC BEH C18 1.7µm 2.1x50mm Colv | Consumable | 1x used for ColMg PM @L1; YH requested for 2020Q3 MRO | -2 | 9 | 7
L2 | 186006049 | XBridgeR BEH C8 2.5um | Consumable |  | 0 | 8 | 8
L3 | WAS207069 | 515 PLUNGER | Consumable |  | 0 | 4 | 4
L3 | WAT022934 | Seal, Clear-100 | Consumable |  | 0 | 4 | 4
R6 | 205015016 | ACQUITY UPLC ID Cell TUV, Analytical (TUV Flowcell) | Consumable | Reusable after PM done by Milford | -3 | 8 | 5
L4 | 700005269 | PERFORMANCE PLUS HB DEUTERIUM LAMP ASSY | Consumable |  | -6 | 6 | 0
L5 | 700009641 | ESI PROBE ASSEMBLY 250mm Qda | Consumable |  |  |  | 22 | [21 empty] | -1 | 2019-09-24 | 16 | 2019-09-25 | -16 | 2019-11-01 | 14 | 2019-12-06 | -1
L5 | 700009768 | Aperture Disk Assembly P Qda | Consumable |  |  |  | 21
L5 | 289012535 | Filament Assembly | Consumable? | QDA |  |  | 8
R3 | 700000254 | Performance Plus Sapphire CV CART (2) | Consumable |  | -6 | 8 | 2
R3 | WAT025531 | Assy, Solvent Filter | Consumable |  | 0 | 2 | 2
R3 | 186003031 | XBridge C18 3.5 um 4.6 x 50 mm Column | Consumable |  | 0 | 12 | 22 | 2020-01-14 | -1 | 2020-03-16 | -1
R4 | 186002457 | White, 9mm Screw Cap w/Bonded pre-slit P | Consumable |  | 0 | 2 | 2
R4 | 186005827 | Blk Cap 12x32mm vial PSlt PTFE Sil Sept | Consumable |  | -1 | 2 | 1
R4 | 186002127 | Green Screw Cap (9mm) w/Bonded Pre-Slit | Consumable |  | -1 | 2 | 1
R4 | 186002128 | Red Screw Cap (9mm) w/Bonded Pre-Slit PT | Consumable |  | -1 | 2 | 1
R4 | 700003741 | HPLC System UV Test Solutions (Ampules 1, 3, 7, 8 & 9) | Consumable |  | 0 | 6 | 6
R4 | 700009330 | PERFORMANCE PLUS HB DEUTERIUM LAMP ASSY | Consumable |  |  |  | 4
Note on H1: HuaZhen Luo: Balance from 2019
Note on G3: HuaZhen Luo: Column Manager Tester PM
Note on G7: HuaZhen Luo: PM parts for Venture
Note on G8: HuaZhen Luo: PM parts for Venture
Note on G9: HuaZhen Luo: PM parts for Venture
Note on G13: HuaZhen Luo: 8x FTN PM and 1x for Column Manager Tester at Venture
Note on G14: HuaZhen Luo: FTN PM
Note on G15: HuaZhen Luo: PM parts for Venture
Note on G16: HuaZhen Luo: PM Parts for Venture
Note on G17: HuaZhen Luo: PM parts for FTN. All 8 units sent to Paul for reprogram
Note on G18: HuaZhen Luo: PM parts for Venture
Note on AK19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: for the QDa PM in the IFWRC lab
Note on G22: HuaZhen Luo: PM parts fro Venture
Note on G23: HuaZhen Luo: PM parts for Venture
Note on G24: HuaZhen Luo: Used for Alliance Final Testers. 4 ports x 6 testers = 24 Revise to 12 as replacement rate was lower than initial estimate on 14Jan20
Note on G25: HuaZhen Luo: No. is based on last year usage.
Note on G26: HuaZhen Luo: No. is based on last year usage.
Note on G27: HuaZhen Luo: No. is based on last year usage.
Note on G28: HuaZhen Luo: No. is based on last year usage.
Note on G29: HuaZhen Luo: Test solution for 6 Alliance Testers

## QDA _Others
Location | Part # | Deccription | TE/Tool/Consumable | Remarks | Need to order | Safety Stock | Balance | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity
L6 | 1503191 (066-0055Z) | Wrist Band, Adjustable, 6ft Cord, Blue | Tool |  |  |  | 1
R4 | 6070945 | 1/16" Blanking Plug | PAE |  |  |  | 3
R4 | 7714898 | 5/32 Cap | PAE |  |  |  | 5
R4 | 7715071 | 6mm to 6mm Joint | PAE |  |  |  | 5
R4 | 700003811 | ThermpGreen High temp Sepa | PAE |  |  |  | 16
R4 | 371-9549 | 5/32 Plug | PAE |  |  |  | 12
R4 | C105-14-304 | Swing Clamp Assembly & Nut | PAE |  |  |  | 2
R4 | C10514397 | NW25 Centering Ring VIT | PAE |  |  |  | 2
R4 | KQ2C06-00A | 6mm Cap | PAE |  |  |  | 10
R4 | KQ2P-06 | 6mm Plug | PAE |  |  |  | 7
R4 |  | Analyser Back Cover | PAE |  |  |  | 1
R4 |  | Leak Check Adaptor | PAE |  |  |  | 1
R4 |  | Tube Sharperner Cover | PAE |  |  |  | 1
L4 | NA | QUOLL Quad VxWorks | Other |  |  |  | 1
L4 | NA | QUOLL Quad Blind BIOS | Other |  |  |  | 1
L4 | NA | Spare Key for test box | Other |  |  |  | 1
L6 | USB4000-UV-VIS | Ocean Optics USB4000 | Other |  |  |  | 1
L6 | 83-034-100 | TDK-Lambda User Manual | Other |  |  |  | 6
L6 | 293-340-30 | Mitutoyo Digimatic Micrometer | PAE |  |  |  | 1
L6 | 500-197-30 | Mitutoyo Digimatic caliper | PAE |  |  |  | 1
L6 | 2292227 | from element 14 | Other |  |  |  | 2
Note on H1: HuaZhen Luo: Balance from 2019

## Cannot find in cabinet
Location | Part # | Deccription | TE/Tool/Consumable | Remarks | Need to order | Safety Stock | Balance | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity | Date in/out | Quantity
L3 | WAT046-12 | COMP SCREW 1/8 PEEK |  |  |  |  | 5
L3 | 002261-BJ-BA-00 | Filament Assembly |  |  |  |  | 1
L4 | 999041977-04 | Backpressure Verification Sample, Assembly | Tool |  |  |  | 0
L6 | RCDDT320-EN-BS | Tester, RCD |  |  |  |  | 1
L6 | 222563 | ESD Personnel Test Station |  |  |  |  | 0
R2 | TE82996 Driver | Adapter Control Board (For CEI GTS1 test fixture TE82994-2) |  |  |  |  | 4
R3 | G14F06201 | Bar Code Scanner QW2100 |  |  |  |  | 0
| 667004297 | SQT Option for Systems on Emp 3 |  |  |  |  | 0
| BVHVU6 | HAND VALVES |  |  |  |  | 4
| BVU60-1212 | MANUAL |  |  |  |  | 4
Note on H1: HuaZhen Luo: Balance from 2019