| Group | Property |  |  | Required | Comments |  | Report |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Unit Report | Operator Name |  |  | Yes | Use local operator file |  | Yes |
|  | Start Time |  |  | Yes |  |  | Yes |
|  | End Time |  |  | Yes |  |  | Yes |
|  | Mode |  |  | Yes | From List Below |  | No |
|  | Version |  |  | No |  |  | No |
|  | Test Run Grade |  |  | Yes | Overall Grade |  | Yes |
| Station | Name |  |  | Yes | Include TE number |  | Yes |
|  | GUID |  |  | Yes | Code |  | No |
|  | Version |  |  | Yes | Hardware version of tester |  | No |
|  | Properties |  |  |  |  |  |  |
|  |  | Location |  | Yes | From list below |  | Yes |
|  |  | Test position |  | No |  |  | No |
|  |  | Test Software |  | Yes |  |  | Yes |
|  |  | System Instrument SN(s) |  | No |  |  | No |
|  |  | System Instrument firmware Rev(s) |  | No |  |  | No |
| Product | Category Name |  |  | Yes | From list below |  | No |
|  | Part Number |  |  | Yes |  |  | Yes |
|  | Name |  |  | Yes | Should match SAP |  | Yes |
|  | Properties |  |  |  |  |  |  |
|  |  | Subcomponent SN |  | No |  |  | No |
|  |  | Firmware |  | No | Required if available |  | Yes |
|  |  | Order |  | Yes |  |  | Yes |
|  |  | TMD |  | No | Property for each TMD |  | Yes |
| Sub-Test Run | Name |  |  | Yes |  |  | Yes |
|  | Start Time |  |  | Yes |  |  | No |
|  | End Time |  |  | Yes |  |  | No |
|  | Result Name |  |  | If applicable |  |  | Yes |
|  |  | Result (measurement) |  | If applicable |  |  | Yes |
|  |  | LSL |  | If applicable |  |  | Yes |
|  |  | USL |  | If applicable |  |  | Yes |
|  |  | Unit of Measure |  | If applicable |  |  | Yes |
|  | Grade |  |  | Yes |  |  | Yes |
|  | Property |  |  |  |  |  | No |
| Locations |  |  | Categories: |  |  | Modes |  |
| Clean Room, Milford, US |  |  | Detectors |  |  | REF |  |
| White Room, Milford, US |  |  | Sample Managers |  |  | REP |  |
| NPI, Milford, US |  |  | Column Products |  |  | RDL |  |
| Repair, Milford, US |  |  | Pumps |  |  | NPI |  |
| RDEL, Milford, US |  |  | Sample Organizers |  |  | P |  |
| Flextronics, SG |  |  | Injectors |  |  | D |  |
| CEI, SG |  |  | Columns |  |  |  |  |
| GES/Venture, SG |  |  | PC Boards |  |  |  |  |
| Flextronics, MY |  |  | Valves |  |  |  |  |
| CEI, ID |  |  | Flow Cells |  |  |  |  |
| Production, Pittsburg, US |  |  |  |  |  |  |  |