Sigmasure 7
	Group
	Property
	Required
	Comments
	Report

	Unit Report
	Operator Name
	Yes
	Use local operator file
	Yes

	
	Start Time
	Yes
	
	Yes

	
	End Time
	Yes
	
	Yes

	
	Mode
	Yes
	From List Below
	No

	
	Version
	No
	
	No

	
	Test Run Grade
	Yes
	Overall Grade
	Yes

	Station
	Name
	Yes
	Include TE number
	Yes

	
	GUID
	Yes
	Code
	No

	
	Version
	Yes
	Hardware version of tester
	No

	
	Properties
	

	
	
	Location
	Yes
	From list below
	Yes

	
	
	Test position
	No
	
	No

	
	
	Test Software
	Yes
	
	Yes

	
	
	System Instrument SN(s)
	No
	
	No

	
	
	System Instrument firmware Rev(s)
	No
	
	No

	Product
	Category Name
	Yes
	From list below
	No

	
	Part Number
	Yes
	
	Yes

	
	Name
	Yes
	Should match SAP
	Yes

	
	Properties
	

	
	
	Subcomponent SN
	No
	
	No

	
	
	Firmware
	No
	Required if available
	Yes

	
	
	Order
	Yes
	
	Yes

	
	
	TMD
	No
	Property for each TMD
	Yes

	Sub-Test Run
	Name
	Yes
	
	Yes

	
	Start Time
	Yes
	
	No

	
	End Time
	Yes
	
	No

	
	Result Name
	If applicable
	
	Yes

	
	
	Result (measurement)
	If applicable
	
	Yes

	
	
	LSL
	If applicable
	
	Yes

	
	
	USL
	If applicable
	
	Yes

	
	
	Unit of Measure
	If applicable
	
	Yes

	
	Grade
	Yes
	
	Yes

	
	Property
	
	
	No

	Locations
	Categories:
	Modes

	Clean Room, Milford, US
	Detectors
	REF

	White Room, Milford, US
	Sample Managers
	REP

	NPI, Milford, US
	Column Products
	RDL

	Repair, Milford, US
	Pumps
	NPI

	RDEL, Milford, US
	Sample Organizers
	P

	Flextronics, SG
	Injectors
	D

	CEI, SG
	Columns
	

	GES/Venture, SG
	PC Boards
	

	Flextronics, MY
	Valves
	

	CEI, ID
	Flow Cells
	

	Production, Pittsburg, US
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